## Slide 1: SHORT-TERM ELECTRICAL LOAD FORECASTING FOR LEKHNATH FEEDER USING MACHINE AND DEEP LEARNING MODELS
Presenter, Sujit Koirala
Department of Electrical Engineering
Masters Of Science In Power System Engineering
Institute Of Engineering Pulchowk Campus

## Slide 2: Introduction
Short-term electrical load forecasting is essential for planning and operating a reliable power system. It helps utilities manage demand, reduce costs, and improve overall efficiency. The Lekhnath Feeder serves a mix of households, businesses, and small industries, and its load pattern shifts with time, weather, and community activities. This project explores how modern machine learning and deep learning models can forecast its hourly demand more accurately than traditional methods.

## Slide 3: Problem Statement
Existing forecasting methods for the Lekhnath Feeder rely on manual estimates or traditional statistical models that struggle to capture nonlinear and rapidly changing load patterns.
Weather changes, calendar effects, and local demand variations make the load behavior more complex, reducing the accuracy of current forecasting practices.
Inaccurate forecasts lead to poor generation scheduling, higher operational costs, increased technical losses, and potential reliability issues in the distribution system.
There is no systematic study that applies and compares advanced machine learning and deep learning models for short-term forecasting of this specific feeder.

## Slide 4: Objectives
Collect and prepare historical load, weather, and calendar data for the Lekhnath Feeder. This ensures a complete and consistent dataset for developing accurate forecasting models.
Design and implement a set of machine learning and deep learning models, including SVR, Random Forest, XGBoost, LSTM, and GRU.
Compare all models using standard performance metrics to determine which method delivers the most accurate and reliable short-term load forecasts
Build a Reliable Data Foundation
Develop and Train Forecasting Models
Evaluate and Identify the Best Forecasting Approach

## Slide 5: Methodology
Collect and prepare historical load, weather, and calendar data for the Lekhnath Feeder. This ensures a complete and consistent dataset for developing accurate forecasting models.
Data Collection

## Slide 6: Methodology
Data Available from 2079-06-01 to 2082-06-30.
Different Excel Files for Each month with different sheets containing each day wise MW Usage of different location
Extracted the data of Lekhnath feeder from its column.
Combined all the months and year data into one file.
Data Collection

## Slide 7: Methodology
Weather Data available for Khumaltar in one hour interval.
Extracted the data from 2079-06-01 to 2082-06-30
Prepared final data by related the data, time and hour between the weather data and feeder data.
Dataset Shape: 24528 rows x 5 columns
Data Collection

## Slide 8: Methodology
Final Dataset

## Slide 9: Methodology
Two problems in Dataset
  120 Null Values in MW Column
  Date not formatted in 24 hrs format.
Solution
  Forward Backward Fill
  Converted 24:00 to 00:00
Data Preprocessing

## Slide 10: Methodology
Data Analysis

## Slide 11: Methodology
Data Analysis

## Slide 12: Methodology
Data Analysis

## Slide 13: Methodology
Trained Machine Learning Models
Linear Regression
Ridge Regression
Random Forest
Gradient Boosting
XG Boost
SVR
Model Training
Evaluation Metrices

## Slide 14
Model Results

## Slide 15
Model Results

## Slide 16
Model Results

## Slide 17
Model Results

## Slide 18: Future Plan
Training Deep Learning Model
Training of the DL Models,
LSTM
GRU
Fine tune to them.
Identifying the Best Models
Identifying the best Model out of all. Create a interface to input data and predict the MW Load.

## Slide 19
Thanks!
Do you have any questions?
Presenter, Sujit Koirala
Department of Electrical Engineering
Masters Of Science In Power System Engineering
Institute Of Engineering Pulchowk Campus
SHORT-TERM ELECTRICAL LOAD FORECASTING FOR LEKHNATH FEEDER USING MACHINE AND DEEP LEARNING MODELS